Sectioning 101

By Jen Winther

1. Trim mounted block

a. Trapezoid shape, wider base at cutting edge

b. Parallel sides

c. Slightly wider towards mount

- Setting up the microtome

  - Set desired thickness usually between 5-8micro meters

  - Knife angle should be between 4 and 5 degrees

  - Knife should be securely fastened

  - Position knife away from mount

  - Secure block in mount, make sure block edge is parallel to knife edge

  - Bring knife close to, but not too close block edge

- Sectioning

  - Place pencil labeled slides on slide warmer set to 40 degrees C

  - Cover slides with clean ddH2O

  - Unlock turning mechanism and push away from you, this will advance the block set micrometers each turn

  - As ribbon comes off, manipulate with tweezers, wood sticks whatever works for you. This takes practice. Be sure not to damage knife edge with tools.

  - Place ribbons on construction paper until ready to mount, be sure to keep track of order

- Mounting ribbons on slides

  - Cut ribbons to slightly smaller than available area on slide because they will expand when they hit water

  - Use two sticks, tweezers, magic whatever works to mount ribbons. Start at one end and slowly bring down to ensure straight, non-overlapping rows

  - Allow sections to rest, once fully expanded tilt slightly and suck off excess water, can wick away with kimwipe.

  - Allow slides to dry at least 4 hours or overnight.

- Some staining protocols

Saffarin Fast-green Staining

100% citrisolve 1   		5 min

100% citrisolve 2   		2 min

100% EtOH 1   			2 min

100% EtOH 2         		1 min

70% EtOH 			5 min

1 % Saffarin in 50% EtOH   	10-40 min

70% EtOH 			1 min

95% EtOH				1 min

1% Fast Green in 95% EtOH	Dip 3 times

95% EtOH				30 sec

95% EtOH				1 min

100% EtOH 2			1 min

100% EtOH 1			1 min

- let slides dry and then mount with a mixture of permount and citrisolve

Toluidine Blue Staining (or any water based stain)

100% citrisolve 1   		5 min

100% citrisolve 2   		2 min

100% EtOH 1   			2 min

100% EtOH 2         		1 min

70% EtOH 			1 min

50% EtOH				1 min

35% EtOH				1 min

H2O (or buffer)			1 min

1% Toluidine Blue Stain 		1 min (follow direction for specific stain)

H20 rinse excess stain		1 min

Let air dry or blot

# Text boxes

specimen

View from top

Cutting edge

View from side

Block mount

Block mount

Knife mount

Adjusting screws

knife

Ribbon

Slide

Water

Ribbon